FIRE SAFETY

POLICIES, PROCEDURES AND GUIDELINES

UNIVERSITY OF ALABAMA

OFFICE OF ENVIRONMENTAL HEALTH AND SAFETY

Draft 2015

- The University of Alabama Health and Safety Policy Statement

The University of Alabama, concerned with the health and safety of its students, faculty, staff and visitors, acknowledges its responsibility to endeavor to create, maintain, and enhance a healthful and safe environment for all individuals associated with the institution.  To this end, the University is committed to provide reasonable resources and support for the development, implementation and maintenance of an effective health and safety program.

The University is committed to the principle that such a program will minimize University losses, reduce costs, improve morale and increase productivity.

For these reasons, the University requires that health promotion and accident prevention be integrated into all its academic and operational activities and has established a central Office of Health and Safety on campus which reports to the Vice President for Financial Affairs and Treasurer.  This office has been charged to oversee the development and implementation of an effective health and safety program.  To best fulfill this responsibility, the Office of Health and Safety will develop and assist in implementing University guidelines and standards compatible with existing external agencies’ rules and regulations.  Compliance with all University health and safety guidelines will be required.  All supervisory personnel shall bear primary responsibility for the health and safety concerns within their respective area.

A committee on health and safety, which reports to the Vice President for Financial Affairs and Treasurer, has been appointed.  The primary responsibilities of this committee are to advise the President on health and safety matters, and to assist the Office of Health and Safety in the development of a safe and healthful environment for faculty, staff, students and visitors.  (1983)

In 1996 the Office of Health and Safety became the Office of Environmental Health and Safety, a name change that more accurately describes the function of this office.  The Office of Environmental Health and Safety continues to report through Financial Affairs.

(B) Purpose

The Office of Environmental Health and Safety (EHS) developed these Fire Safety Policies and Procedures to reflect the policies and guidelines of the Fire Safety Program.  It is the intent of the Fire Safety Program to establish uniform procedures for students, employees and guests in case of a fire or other emergency at The University of Alabama.  Some of the reference documents for these fire safety guidelines include International Fire Code (IFC) and National Fire Protection Association (NFPA). This information is not all-inclusive and EHS is not responsible for any omissions or errors.

- Responsibilities

- The University of Alabama Office of Environmental Health and Safety

The University of Alabama Office of Environmental Health and Safety (EHS) acts as the liaison between the local fire department and the campus community.  Representatives from EHS respond to fire alarms on campus occurring during working hours.  EHS maintains an active database for inspection of fire alarm systems and other fire safety equipment on campus. EHS inventories, maintains, repairs and tests all fire alarm systems in University owned buildings on campus. EHS conducts code compliance inspections at all academic, administrative and housing facilities.  EHS coordinates the fire safety program and provides training and information to The University community as needed.

- The City of Tuscaloosa Fire Department

The City of Tuscaloosa Fire Department (TFD) is the local fire department, which responds to all fire alarms on campus.  TFD randomly inspects buildings on campus, including fraternities and sororities.  Once an alarm is initiated, TFD is the only entity, which can give the approval to reset a fire alarm system once the fire department has been dispatched.

- The University of Alabama Police Department

The University of Alabama Police Department (UAPD) responds to all alarms on campus.  Their primary responsibility is to secure the area of any immediate hazard and act as a liaison between the local fire department and the campus community when an alarm occurs on campus.  UAPD also resets all fire alarm systems after TFD has given the all clear.

- Building Representatives

Each University-owned building on The University of Alabama campus has an assigned building representative.  Building representatives have extensive knowledge about the building they work in and are often times viewed as an asset to other department during the time of an emergency.  Many times building representatives have access to keys to restricted areas within buildings or the contact names and numbers of those responsible for restricted locations.

- The University of Alabama Facilities Department

The University of Alabama Facilities Department will assist in providing repairs to University buildings and grounds.

- The University of Alabama Housing and Residential Communities

The University of Alabama Housing and Residential Communities Department (HRC) will assist in providing access to housing facilities and substitute housing for any student living in University-owned housing whose on-campus residency is damaged due to fire or deemed unsafe according to regulations.  Housing and Residential Communities is part of the Division of Student Affairs and was formerly known as The University of Alabama Housing Department.

- The University of Alabama Dean of Students Office and the Office of Fraternity and Sorority Life

The University of Alabama Dean of Students Office and the Office of Fraternity and Sorority Life may assist in locating substitute housing for any on-campus student, including fraternity or sorority member, whose space is damaged by fire or deemed unsafe according to regulations.

- Contractors

It is the responsibility of all outside contractors working in University buildings or on The University of Alabama property to provide adequate fire protection to workers on the job site.  It is also the responsibility of the contractor to train their employees to evacuate the building safely during a fire alarm.  Contractors working on fire alarm systems connected to The University of Alabama fire alarm system network must contact UAPD at (205) 348-5454 prior to performing any work on a building’s fire alarm system.  Additionally due to fire alarm systems that are monitored by monitoring companies, contractors may be required to contact both the outside monitoring company and UAPD prior to performing any work on the fire alarm system.  In all cases it is required that the contractor first contact and discuss the work that will be performed on the fire alarm system with EHS Fire Alarm Technicians at (205-348-5905) prior to starting any new contracted work.  It is also the responsibility of any contractor working on The University of Alabama campus to contact EHS if they will be doing any work which could potentially set off the fire alarm system such as sweeping, drilling, or welding so that the proper steps can be taken to eliminate an avoidable fire alarm.

- Inspections

- Portable Fire Extinguishers

All portable fire extinguishers in University buildings on campus (including fraternities and sororities) are visually inspected on a monthly basis.  Each fire extinguisher is inspected to determine if the seal and pin are in tact, the extinguisher gauge indicates the extinguisher is fully pressurized and that the extinguisher is in place and operational.  Any fire extinguisher found missing a seal or pin or with a low charge indicated on the gauge will be replaced for further inspection.  EHS is responsible for the maintenance of all portable fire extinguishers in University owned buildings on campus.  In the case of fraternity and sorority groups that own their houses, EHS notifies each house of the need to have them annually inspected, or anytime a fire extinguisher is noted that requires maintenance or recharging.  All portable fire extinguishers are inspected and reviewed to determine if hydrostatic testing or other preventive maintenance is required.  An outside contractor provides preventive maintenance and recharging of all carbon dioxide and K-rated fire extinguishers in University-owned buildings (includes fraternities and sororities).  Documentation of annual inspections are maintained on the fire extinguisher tags, while documentation of monthly inspections are also maintained on the fire extinguisher tags and at EHS.

It is the responsibility of those living on University property but outside of University housing to assure adequate portable fire extinguisher protection and that each fire extinguisher is visually inspected monthly and annually inspected for preventive maintenance. Fire extinguishers should always be conspicuously located and unobstructed.  Documentation of the annual inspection must be placed on each portable fire extinguisher, along with documentation of any preventive maintenance performed.  Extinguishers in all Fraternity and Sorority houses are inspected monthly and prior to each registered social event by representatives from EHS.

In the event that an extinguisher is discharged in a University-owned building on campus, it is the responsibility of the individual discharging the extinguisher to notify EHS immediately at 205-348-5905 or by contacting UAPD Dispatch at 205-348-5454 (if after normal working hours) so that the extinguisher can be replaced.  If an extinguisher is discharged in a lab or classroom, it is the responsibility of the Lab Chemical Hygiene Officer or classroom instructor to contact EHS or UAPD Dispatch.  Those individuals living on University property but not in University-owned buildings must also replace or recharge any discharged fire extinguisher in a timely manner.

- Bedroom Smoke Alarms

A representative from EHS inspects bedroom smoke alarms in each housing facility (including fraternities and sororities) monthly. Annually, each summer, representatives from EHS inspect, clean and test all local bedroom smoke alarms in University housing facilities (including fraternities and sororities) prior to reoccupying the building in the fall of each year.  Documentation of this inspection is kept on file at EHS at 410 Campus Drive East, Tuscaloosa, Al 35487.

- Emergency Lights

Representatives from EHS inspect emergency lights in University buildings on campus monthly to assure they are working correctly and are intact.  Emergency lights are also inspected prior to each registered social event at all fraternity and sorority houses on campus to determine if they are in place and functioning.  Work orders are initiated and completed by EHS personnel for repair or replacement of emergency lights not working correctly in University buildings on campus.

- Exit Lights

Representatives from EHS inspect exit lights in University buildings monthly to determine if they are intact and illuminated.  Exit lights are also inspected prior to any registered social event at fraternity and sorority houses on campus to determine if they exist and are functional.  Work orders are initiated and completed by EHS personnel for repair or replacement of emergency lights not working correctly.

- Hood Suppression Systems

EHS schedules the inspection of all University commercial kitchen hood suppression systems including those at fraternity and sorority houses.  An outside contractor inspects each hood system, makes recommendations and replaces the fusible links.  Documentation of this inspection is maintained at EHS along with the tag on the hood suppression system pull station. Use of any commercial kitchen on University property is prohibited without completion of preventative inspections and maintenance.

- Fire Alarm Systems

Each fire alarm system is tested annually.  Fire alarm systems are inventoried and tested to assure they are functional by a NICET certified fire alarm technician.  Each smoke detector is inspected to determine if it is functional and passes a periodic sensitivity test.  They are also visually inspected to verify they are in place and have not been tampered with.  Heat detectors, duct detectors, audiovisuals and magnetic door holders are also inspected to confirm they are operational and are working correctly within outlined parameters.  Prior to re-opening any housing facility on campus, including fraternity and sorority houses, all fire alarm systems must be tested by EHS Fire Alarm Technicians.  The only exemptions to this rule that exist are when a house is unoccupied and is to be torn down, or while a new fire alarm system is being installed by an outside contractor.  When new buildings are being constructed or new fire alarm systems are being installed, they are tested and inspected by TFD with members of EHS present to witness the test.  Any repairs made to fire alarm systems on campus, including those in fraternity and sorority houses, are completed by EHS Fire Alarm Technicians or another company under the review or control of EHS.  Always contact EHS prior to considering any additions or changes to the fire alarm system.  Documentation of any inspection or change made to a fire alarm system is kept on file at EHS at 410 Campus Drive East, Tuscaloosa, Al 35487.

- Sprinkler Systems, Standpipes and Fire Pumps

All water-based fire protection systems in University-owned buildings are inspected and tested routinely by an outside contractor or representatives from The University of Alabama Facilities Department.  Both groups (Facilities and the Sprinkler Contractor) provide emergency repair service twenty-four hours a day.  Inspections of water-based fire protection systems can be weekly, monthly, quarterly or annually based upon the items under consideration.  For information regarding the types of inspections and items included during these inspections, contact The University of Alabama Plumbing Maintenance Department a division of The University of Alabama Facilities Department during office hours at 205-348-6009.  To request immediate assistance involving a fire-sprinkler related issue, contact The University of Alabama Customer Service Center at 205-348-6001.  In the case of a fire or emergency contact UAPD Dispatch at 205-348-5454.  The University of Alabama Plumbing Maintenance Department retains documentation of all inspections.  Sprinkler systems in fraternity and sorority houses are maintained in the same manner.  The University of Alabama Plumbing Maintenance Department retains all documentation regarding these inspections as well and can provide copies of inspections as needed.

- Special Extinguishing Systems

Special extinguishing systems have been installed on campus in specific locations according to the hazards present.  These systems are inspected and maintained by outside contractors according to guidelines outlined in IFC and NFPA.  Documentation of any inspection of these systems should be sent to EHS at 410 Campus Drive East, Tuscaloosa, AL 35487 or faxed to (205) 348-7773.  Contractors must contact EHS at (205) 348-5905 prior to the inspection or installation of any special extinguishing agent.

(E) Fire

- Fire Tetrahedron

Four things must be present at the same time for a fire to be produced.

  - There must be enough oxygen to sustain combustion.

  - There must be enough heat to raise the material to its ignition temperature.

  - There must be some sort of fuel or combustible material present.

  - There must be a chemical exothermic reaction.

- Types of Fires

There are several types of fires that can develop.  Fires are classified by the fuel or combustible source recognized in the fire tetrahedron.

  - Class A Type Fires – Develop when an ordinary combustible (such as wood, paper, cloth or plastic) is the fuel source.

  - Class B Type Fires – Develop when a flammable liquid (such as gasoline, oil or grease) is the fuel source.

  - Class C Type Fires – Develop when energized electrical equipment are involved, such as appliances or tools.

  - Class D Type Fires – Develop when flammable combustible metals (such as magnesium, titanium, potassium, or sodium) are the fuel source.

  - Class K Type Fires – Develop when vegetable or animal oils, grease or fats are involved.

- Types of Extinguishers

Fire extinguishers are described by the type of fire, which they extinguish.  Fire ratings can be found on the extinguisher faceplate signifying the type of fire they extinguish.

  - ABC

    - Multipurpose extinguisher that can be used on Class A, B, and C fires.

    - Dry chemical extinguisher.

    - Pressurized with Nitrogen.

    - Leaves a residue that can harm sensitive equipment.

    - Range in size from 2.5 lbs. to 20 lbs.

  - BC

    - Can be used on Class B and C fires.

    - Typically found in commercial kitchens.

    - Pressurized with Nitrogen

  - D

    - Can be used on Class D fires.

    - Typically found around flammable metals in labs.

    - Work by smothering the fire.

  - CO2

    - Can be used on Class B and C fires.

    - Filled with Carbon Dioxide under pressure.

    - Recognized by the lack of a pressure gauge and presence of a horn at the end of a flexible tube.

    - Range in size from 5 to 50 lbs.

    - Leave very little residue.

    - Typically found in labs, mechanical rooms and sensitive electrical equipment.

    - Remember that if damaged, a CO2 cylinder can become a missile, so handle them with care.

  - K

    - fire extinguishers are for fires that involve cooking oils, trans-fats, or fats in cooking appliances

    - Typically found in restaurant and cafeteria kitchens.

  - Halon Replacement or Clean Agent

    - Designed to replace Halon extinguishers.

    - Many considered “clean agent” extinguishers to protect Class A, B & C hazards.

    - Still require special maintenance and recharge and may have to be pulled from shelves later based upon U.S. Environmental Protection Agency (EPA) rulings.

(F) Equipment

- Portable Fire Extinguishers

  - Types of Extinguishers on Campus

A variety of extinguishers are available on campus including multipurpose ABC extinguishers, BC, CO2, Halon replacement extinguishers and K-rated extinguishers.  While all extinguishers range in size, extinguishers should always match the prevailing hazard within the area.  Very few Halon replacement extinguishers exist.  Instead, the majority of fire extinguishers placed on campus are ABC multipurpose extinguishers which can be used on combustible, flammable and electrical fires.  Unfortunately ABC extinguishers leave a residue that can harm sensitive, electrical equipment.  For this reason CO2 extinguishers are often found in labs, mechanical rooms and around sensitive electrical equipment.  Type K extinguishers are found in commercial cooking areas where large amounts of animal fats, grease and oils are used.

  - Locations of Fire Extinguishers

There are approximately 4000 fire extinguishers stationed throughout University-owned buildings on campus.  University-owned dormitories have fire extinguishers positioned throughout hallways.  Extinguishers are also in labs, corridors, common kitchens, mechanical rooms, laundry areas where irons are used, and in certain University-owned vehicles and equipment.  Fire extinguishers should always be conspicuously located and unobstructed.  All fire extinguishers are denoted on the Emergency Evacuation Plans for the building.  These plans are posted throughout buildings in hallways normally near elevators or stairwells.  Contact EHS to request a hazard analysis for placement of a fire extinguisher or to request a different size or type extinguisher for your area.

- Bedroom Smoke Alarms

All bedrooms in housing facilities on campus are equipped with 110-volt smoke alarms that are tied into the electrical system, unless they are equipped with smoke detectors that are tied into the fire alarm system. Many of the newer dorms are equipped with interconnected smoke alarms so when one smoke alarm goes off in the apartment they all activate to make other occupants aware of a potential concern. The smoke alarms in University-owned housing facilities and campus fraternity and sorority houses are maintained by EHS.  In the event that a smoke alarm is broken or malfunctions, it is the responsibility of the occupant to notify the respective Resident Advisor who will send EHS a work order to initiate the necessary repair.  Outside of normal business hours, UAPD Dispatch can be contacted at 205-348-5454 to request assistance.  House Directors can request assistance as well when there is a concern related to a local smoke alarm within a Fraternity or Sorority House on campus.  It is unacceptable for an occupant to disconnect the local smoke alarm in his or her room or another student’s room.

- Smoke Detectors Tied into the Fire Alarm System

Smoke detectors that are tied into the fire alarm systems are maintained, inventoried, cleaned and replaced by The University of Alabama EHS NICET Certified Fire Alarm Technician.  In the event that a smoke detector, which is tied into the fire alarm system has been damaged please contact EHS at (205) 348-5905 to initiate the necessary repair.  Anyone performing an activity, which might initiate a fire alarm smoke detector, must contact EHS at (205) 348-5905 prior to performing this activity.  In some cases it may be necessary for an area to be zoned out or smoke detectors disconnected until the work has been completed.  Fraternities and Sororities with smoke detectors tied into the fire alarm system are also maintained by EHS Fire Alarm Technicians.  Prior to any changes or additions to the fire alarm system including the smoke detector activation, contact EHS.  Documentation of any changes to these systems will be kept on file at EHS at 410 Campus Drive East, Tuscaloosa, AL 35487.

- Heat Detectors and Duct Detectors

Heat detectors and duct detectors tied into the fire alarm system are maintained, inventoried, cleaned and replaced by EHS.  Anyone performing an activity, which might initiate a fire alarm duct detector or heat detector, must contact EHS at (205) 348-5905. In some cases it may be necessary for an area to be zoned out or detectors disconnected until the work has been completed.  Fraternities and Sororities with heat detectors or duct detectors tied into the fire alarm system are maintained in the same fashion by EHS.  Prior to any additions or changes to the fire alarm system’s heat detectors or duct detectors, contact EHS.  Documentation of any changes to these systems will be kept on file at EHS at 410 Campus Drive East, Tuscaloosa, Al 35487.

- Pull Stations and Pull Station Covers

Pull stations are placed throughout campus in buildings protected by a fire alarm system.  Pull stations shall only be used for emergency purposes.  They must be securely mounted and remain unobstructed at all times.  These pull stations are maintained, tested, and inventoried by EHS.  In the event that a pull station has been damaged, please contact EHS at 205-348-5905 immediately to initiate the necessary repair.  If the concern develops after normal business hours, notify UAPD Dispatch at 205-348-5454.  Some pull stations on campus are protected by pull station covers that sound an audible alarm when they are tampered with.  These pull station covers are operated on a 9-volt battery.  Batteries are replaced in the pull station covers annually to assure they will alarm when tampered with.  If a pull station cover is initiated or found alarming, contact EHS at (205) 348-5905 or UADPS at (205) 348-5454.  Pull stations in Fraternities and Sororities are maintained as well by EHS.  If pull station covers exist at fraternity and sorority houses, EHS can also replace the batteries in these devices.  Contact EHS to schedule a time for this work to be done.  Contact EHS prior to covering or blocking a pull station.  All work completed on pull stations must be done by EHS or in conjunction with an approved contractor working with EHS.  Documentation of any changes to fire alarm systems is kept on file at EHS at 410 Campus Drive East, Tuscaloosa, AL 35487.

- Door Holders

Magnetic door holders are found on many stairwell doors in University-owned buildings on campus.  Stairwell doors cannot be propped open without another provision being in place to close these doors.  The installation of magnetic door holders allow fire doors to remain open until a fire alarm is activated and then automatically release allowing the fire doors to close once the fire alarm activates.  This is the only means by which a fire door may be propped open.  All other fire doors must be kept closed to protect the means of egress from smoke.  If fire doors are found repeatedly propped open in University-owned buildings, Fraternity or Sorority houses, groups will be required to fund and maintain magnetic door holders that must be placed on their stairwell doors.  To inquire about magnetic door holders contact EHS at (205) 348-5905.

- Emergency Lights

Emergency lights are stationed throughout hallways of sleeping areas in housing buildings on campus.  Emergency lights are also placed in locations where backup lighting is needed, such as windowless classrooms and auditoriums, should there be a power failure.  Emergency lights do not replace primary lighting and they are only useful for a certain period of time following a power failure.  EHS maintains emergency lights in University buildings and fraternity or sorority houses.  On occasion EHS may request the assistance of The University of Alabama Facilities Electrical Shop or another electrician.  The building representative or resident advisor of the building should report any emergency light found not illuminated during a power outage to The University of Alabama Service Response Center at (205) 348-6001 or by contacting EHS at 205-348-5905.  Fraternities and Sororities living in houses on The University of Alabama campus must provide adequate emergency lighting in all living quarters.  Emergency lights are inspected monthly in each building including fraternity and sorority houses.

- Exit Lights

Exit lights are found throughout all University buildings indicating the means of egress.  Exit lights should be illuminated at all times so the entire word “EXIT” can be read.  Exit lights should remain illuminated after normal power fails for a period of time to allow a clear path of egress out of the building.  Any exit light found within University building, including fraternity and sorority houses, not working or with bulbs out should be reported to the Service Response Center at (205) 348-6001 or contacting EHS at 205-348-5905.  EHS maintains all exit lights in University buildings including fraternities and sororities.  Fraternities and Sororities living in houses on The University of Alabama campus must provide exit lighting to indicate the means of egress throughout the entire house.  EHS inspects exit lights monthly.  Exit lights may not be removed from any exit or means of egress without prior written approval from EHS and the Tuscaloosa Fire Department.  Electricians are also not allowed to remove or relocate exit lights without appropriate approval.  Contact EHS at (205) 348-5905 to discuss concerns regarding the placement of EXIT lights.

Exit placards or exit signs exist in some locations that are considered photoluminescent.  Photoluminescent signs are not to be considered a replacement for exit lights unless approval has been given by EHS for the replacement.  Contact EHS at 205-348-5905 to discuss the use of photoluminescent exit signs or placards.

- Kitchen Hood Suppression System

Kitchen hood suppression systems can be found throughout University buildings, and fraternity and sorority commercial kitchens on campus.  An outside contractor under the direction of EHS maintains these suppression systems and any concerns regarding a kitchen hood suppression system should be directed to EHS at (205) 348-5905.  All operational kitchens in sororities and fraternities are considered commercial kitchens and must be handled as such.  It is the responsibility of the organization occupying the space to assure the hood is cleaned as often as deemed necessary for proper operation. It is the responsibility of EHS to schedule and ensure hoods are inspected prior to occupancy or use of the kitchen and semi-annually thereafter.  Documentation of this inspection should be placed on a tag attached on the pull station for the hood system.  Additional documentation is maintained by EHS.

- Fire Alarm Systems

Fire alarm systems are monitored by UAPD Dispatch and outside monitoring companies.  EHS and the Office of Construction Administration must approve any changes, alterations or additions to a fire alarm system on campus.  There are a few buildings that have local systems or evacuation only systems.  In these buildings occupants must call 205-348-5454 or 911 to summons assistance.  The alarm only sounds in the buildings and they do not communicate to dispatch or an outside monitoring company.  All fire alarm systems in University buildings, fraternities and sororities, are maintained by EHS fire alarm technicians.  Anyone tampering with or vandalizing fire safety equipment is subject to disciplinary action and/or prosecution.

- Sprinkler Systems, Special Extinguishing Systems, and Standpipes

Sprinkler systems, standpipes and special hazard systems exist throughout campus.  Not all buildings contain the same hazard, and as a result not all buildings have the same type of fire protection (fire alarm systems, sprinkler systems, standpipes and special hazard systems).  For an updated listing of the fire protection in on-campus student housing facilities, review the Annual Campus Security and Fire Safety Report available on-line at www.uapd.ua.edu or consult the Fire Safety Systems in On-Campus Student Housing Facilities list on the EHS website at www.ehs.ua.edu.  For specific information regarding a building not included on this list contact EHS at 205-348-5905.  All sprinkler systems, standpipes and special hazard systems have required inspections that must be completed.  In the case of sprinkler systems, related fire pumps and standpipes, these inspections may be completed by an outside contractor or by a member of The University of Alabama Facilities Department.  Special hazard systems are inspected by outside contractors coordinated through EHS.  Fraternities and sororities living in houses on the University campus which have sprinkler systems or standpipes are also inspected by an outside contractor or by a member of The University of Alabama Facilities Department.

- Elevators

Elevators are not to be used by occupants during evacuations following a fire alarm.  Only fire department personnel may use the elevator in the event of a fire alarm.  For this reason, evacuation by means of an elevator is not allowed and instead occupants are to move to the nearest exit or stairwell for evacuation.

(G) Fire Drills

- Frequency

EHS conducts fire drills at the beginning of each fall and spring semesters in all residential or housing facilities on campus (including fraternity and sorority houses).  It is the responsibility of the HRC to outline assembly locations for students living in on-campus student housing facilities.  It is also the responsibility of HRC to provide a means that students can be accounted for and to practice this technique with HRC staff to assure it will work as needed.  The purpose of any fire drill is to assure students, employees and guests understand how to evacuate quickly and safely, and to assure everyone understands the significance of the fire alarm when evacuating the building is necessary.  Buildings may be searched to assure all occupants have evacuated.

- Failure to Evacuate

Failure to evacuate the building during a fire alarm may be justification for community service.  It is the responsibility of each occupant to evacuate or move to a stairwell or an area of rescue assistance during a fire alarm if possible.  Buildings may be searched to assure all occupants have evacuated.

- Evacuation Routes

Buildings are equipped with Emergency Evacuation Plans on each floor of a University building.  These Emergency Evacuation Plans are posted in common areas, often in hallways and near stairwells.  Emergency Evacuation Plans indicate the evacuation routes to be taken by employees, students and guests of The University of Alabama.  For questions regarding Emergency Plans or to report a missing plan, contact EHS at 205-348-5905.  Fraternities and Sororities with houses on campus are also provided are Emergency Plans for each floor of their house. It is the houses responsibility to post these in appropriate areas. These maps now have the best available area of refuge assistance areas (BARA) highlighted on each plan. This is the best area in the building to relocate to in event of a weather emergency such as a tornado.

(H) Occupancy

Occupancy limits are determined by the design of the space, square footage of the area in question, furnishings, the type of seating provided, the type of activity planned and by the obstacles and exits of the area in question.  For specific occupancy limits, contact EHS at 348-5905.  In most cases, a new review of the space will be conducted before an occupancy limit will be provided for an area of assembly.  As stated previously, seating and furnishings can completely change the occupancy number considered for an assembly location.  Some of the types of seating reviewed on campus include non-fixed seating, fixed seating, and standing room only.  To understand more about these limits contact EHS.

(I) No Smoking Policy

The University of Alabama established a “No Smoking” policy in campus facilities on November 21, 1991 at the recommendation of The University of Alabama Health and Safety Committee.  Since then “No Smoking” signs have been posted in University buildings.  Additionally in 2007 the policy was expanded to ban smoking within 30 feet of University buildings.  Effective January 1, 2015, The University of Alabama extended its smoke-free policy to include all facilities, grounds and parking areas on the UA campus.  This includes but is not limited to the interior of all University-owned buildings, all outside property or grounds of the campus, including sidewalks, parking lots, parking decks, and recreational areas, all partially enclosed areas such as walkways, breezeways, patios, porches, gazebos, tents, and bus shelters, all indoor and outdoor athletic venues and facilities, all property, buildings and facilities under the primary control of the University and within all University-owned vehicles, including buses, vans, shuttles, and golf carts.  The policy applies to all faculty, staff, students, visitors and contractors.  The policy also prohibits littering the campus with any remains of tobacco products.  The only exemptions outlined within the policy are to allowing smoking for controlled research, educational, theatrical or religious ceremonial purposes, with prior written approval of the Dean, Director, or Department Head responsible for the facility.  Outside of this exemption, the only other permitted smoking that may occur is on properties the University owns but leases or otherwise conveys an interest to a non-University party according to the applicable lease or agreement with the prior approval of the Vice President of Financial Affairs.

(J) Open Lights and Flames

EHS must approve any use of an open light or flame on campus.  Information on open flames and the agreed upon use of these open flames in labs can be found in The University of Alabama Chemical Hygiene Plan and Laboratory Guide.  The following information must be presented to EHS prior to approval of the use of an open light or flame:  building name, area or room number where used, dates of use, hours of use, project or reason for request, equipment to be used, type of open flame device to be used, ignition procedure for open flame device, and location of the nearest smoke detector and type of smoke detector (smoke detector tied into the fire alarm system or stand-alone smoke detector).  EHS may outline precautions that must also be taken in order to use the open flame.  If these precautions are not followed, EHS reserves the right to terminate or decline the approval of the open light or flame permit.  Open flames are not allowed near spray booths or in the presence of combustible or flammable liquids, dusts or vapors, excelsior, paper, or similar materials.  Any torches being used must not be left unattended while burning.  Open flames can include, but are not limited to, the use of candles, bon fires, incense burners and torches.  The University of Alabama does not endorse the use of candles in any buildings.  It is unlawful for any person to light, build, make or deposit ashes or embers which could cause fire in any University of Alabama building or on the campus grounds without prior approval.

(K) Decorations

Decorations including, but not limited to, boxes, cardboard, mazes, hay, bamboo, cotton batting, straw, vines or pallets are prohibited on campus.  Structurally sound band platforms are acceptable.  All other decorations must be approved by EHS.  Submit a drawing of any planned decorations, along with a list of materials, which will be used to create the decoration, to EHS for approval at 410 Campus Drive East, Box 870178, Tuscaloosa, Alabama 35487.  All decorations, including those planned for social events or parties, must be inspected by before the approval is granted.  Tents erected on The University of Alabama campus must be flame retardant.  Documentation of this treatment or material should be kept on hand at each tent location.  Additionally this information will be requested at the completion of the registration to place the tent on campus.  At least twelve feet of non-obstructed space should be left open and free on all sides of the tent unless otherwise approved by EHS.  All tents must be adequately supported, roped, anchored and braced to assure the tent will withstand the elements of the weather and not collapse.  All aisles in tents and exits from the tents should be left unobstructed.  Tents or tent ropes, anchors or braces must be erected at least two feet away from sidewalks and may not extend over or block any sidewalk.  Contact EHS at (205) 348-5905 regarding concerns over the placement of tents on the University of Alabama campus.

The use of live Christmas trees is prohibited in all UA on-campus student housing facilities.  The use of any live Christmas tree considered for placement on campus, in any UA building, or on the grounds, must be reviewed and approved by EHS.  In most cases, live Christmas trees will not be permitted due to the fire hazard they present when they dry out.  Any electrical decorations, which may be used on Christmas trees must be UL listed and approved.  Contact EHS at 205-348-5905 prior to the establishment of any seasonal decorations.

(L) Chimneys, Portable Heating Appliances and Extension Cords

Many fraternity and sorority houses have wood-burning fireplaces that were placed in their houses at the time of construction.  Currently, the standard wood-burning fireplace is not approved for use in these locations due to the fire hazards that exist when the fireplaces are not maintained.  In many cases, fire screens are not in place, the chimney is not cleaned correctly and students burn unapproved items such as flammables.  Only fireplaces which have been approved by EHS can be used on campus.  Portable space heaters must also be approved prior to use on campus.  Contact Energy Management to discuss concerns associated with the use of space heaters or to schedule a review of a heater. Since great care must be taken to utilize portable heaters properly, EHS strongly discourages use on campus.

The use of extension cords is also discouraged on campus.  However, if an extension cord must be used there are several guidelines which must be followed.  All extension cords used on campus must be UL listed and approved.  These extension cords must only be used within the appropriate rating by comparing the rating on the extension cord to the rating on the temporary appliance being used.  If a cord on the appliance being used has a three-pronged adapter, the extension cord must also be three pronged.  Splicing together of extension cords is not allowed nor is the plugging together of multiple extension cords.  Extension cords used outside or in potentially wet environments must be protected by ground fault circuit interrupters. Extension cords are only to be used on a temporary basis. Extension cords may never be run under rugs or carpet or through walkways or windows.  Never use any extension cord that is damaged or frayed.  Do not use extension cords on any heat-producing appliance such as a refrigerator, portable heater, halogen lamp, blow dryer, or iron.

Halogen lamps pose serious safety hazards.  Their bulbs may shatter due to high heats, they are easily tipped over due to their design and they may ignite combustible materials nearby or when they land inside the bowl of the lamp.  For these reasons halogen lamps may not be used on campus in University-owned buildings.

(M) Exits

Each building or area occupied must have the appropriate number of exits.  Exits must be clear and unobstructed.  Curtains, drapes, mirrors or any other item is not allowed to confuse or conceal any exit or means of egress.  Sitting or standing in any exit or means of egress is not allowed.  Exits are marked by illuminated exit signs with battery backup and must be the correct size for the occupancy load of the building as established in NFPA.  Exit doors must be easily opened from the inside and shall not involve the use of any special procedures or keys to open.  To discuss any concerns regarding exits or egress from a building, contact EHS at 205-348-5905.

(N) Stairwell Doors and Exit Doors

All exit doorways, including stairwell doors, shall be the correct size for the occupancy of the building as established by NFPA. Exit doors must remain unlocked at all times, or have proper panic hardware installed for emergency egress. Exit and stairwell doors must be easily opened from the inside without the use of any special procedures or a key.  No stairwell doors may have deadbolt locks on them or be propped open.  All stairwell doors must have door closures that are automatic closing devices.  Doors, which can swing both ways, shall have a viewing area provided.  There shall be no doorstops placed on stairwell doors.  In the event that a doorstop is found on a stairwell door or a deadbolt lock, it will be immediately removed at the expense of the organization occupying the building.  Once a stairwell door is found propped open by any other item, the organization occupying the building will be given a warning and told to remove the door prop.  If this continues to be a problem, actions will be taken to require magnetic door holdbacks that will hold doors open but automatically release doors to close upon activation of the fire alarm system.

(O) Hallways, Stairwells, Ceiling Tiles and Aisles

All hallways and stairwells must be clear of any clutter, obstruction, or storage.  Each corridor shall be at least 44 inches wide with a height of 7 feet.  Bicycles, furniture, lawnmowers and bulletin boards are not permitted in stairwells and hallways.  The area should also be well lit and free of stored combustibles (paper, wood, etc.) and flammables.

Ceiling tiles act as a fire barrier.  When ceiling tiles are removed, the fire rating of the ceiling may change, the fire insurance may become void and most importantly, it creates a “Chimney Effect” in the event of a fire.  It is the responsibility of the organization occupying the space to verify any damaged or missing ceiling tiles are replaced. These should be reported to the Service Response Center at (205) 348-6001 in University-owned facilities or to the House Director in fraternity and sorority houses.  It is the responsibility of the Fraternity or Sorority occupying the area to maintain their house and replace ceiling tiles as needed.

Any area of a building where tables, seats, chairs, equipment, etc. are installed, an aisle shall be provided which leads to an exit.  All aisles shall be at least 36 inches wide.  These aisles may not be obstructed.  Floors need to be clear of any tripping hazards including, but not limited to, cords and debris.  Sitting or standing in any aisle or path leading to an exit is not allowed.

(P) Compressed Gases or Compressed Air

All pressurized tanks must be adequately secured regardless of whether they are empty or full.  Often chains, straps or stands are utilized to keep them from falling.  No pressurized tanks should be left freestanding.  If pressurized tanks are found freestanding, they will be removed at the expense of the occupants of the building.  When moving compressed gasses, verify the protective caps are in place to protect valve stems and assure stability by strapping them to carts.  Never tamper, force or lubricate cylinder valves.  Contact the compressed gas company responsible for delivering the gases if problems occur with the compressed gas valve.  Remember to wear safety glasses when using compressed gasses.  Compressed gasses or compressed air should never be directed towards a person or used to blow dust or particles off skin or clothing.  Other safety guidelines regarding compressed gases can be found in The University of Alabama Chemical Hygiene Plan.

(Q) Labs

Extinguishers in laboratories are to be inspected monthly.  However, it is the responsibility of the Lab’s Chemical Hygiene Officer (CHO) to notify EHS at (205) 348-5905 if any extinguisher has been discharged.  Always maintain dry sand or some other applicable material in case of a fire if metals such as lithium or sodium are being used in a lab.  Prior to utilizing an open flame assure there are no flammable vapors present in the area.  Also inspect gas burner tubing to confirm quality and that it is not becoming worn.  When transferring flammable liquids from one metal container to another, make sure the containers are grounded and bonded.  “No Smoking” notices shall be posted in all labs where flammable liquids are stored or handled.  No smoking is allowed in any building on campus.  All laboratory personnel must be trained in the operation of fire safety equipment of the lab.  It is the responsibility of the Lab CHO to train the lab personnel in all areas of the Emergency Evacuation Plan, including evacuation procedures and routes, fire alarm system activation, and proper operation of equipment.  Review the Laboratory Chemical Hygiene Plan regarding other safety concerns in labs.

(R) Housekeeping

General housekeeping is a high priority on The University of Alabama campus.  For this reason, no social event in a fraternity or sorority house or University-owned building would be approved if bottles, cans, trash or other materials were in rooms, hallways, stairwells, or outside the area creating hazards.  It is the responsibility of the organization occupying the space to keep the area clean and orderly.  Contact EHS regarding concerns about the disposal of trash, debris, or hazardous materials.

(S) Kilns

Always assure all electrical connections are secure in electric kilns prior to use.  Kilns should only be used in well-ventilated areas with plenty of space between the kiln and the wall or combustibles.  A ten-pound multi-purpose dry chemical fire extinguisher should be located near the kiln.  The space surrounding the kiln should be kept clean and free of dusts.  Prior to the installation of a kiln, EHS must be contacted to discuss the proper location and other safety considerations to be taken when operating a kiln.

(T) Residential Life

Early into each semester, Resident Advisors (RA’s) along with Directors of residential buildings shall conduct a safety awareness meeting with all residents to discuss the Emergency Evacuation plans.  The RA’s shall discuss proper evacuation during a fire alarm, locations of safety equipment, proper use of safety equipment and the buddy system with all residents.  They shall inform all residents of the need for immediate evacuation during fire alarms or fire drills. They shall also explain to residents the penalties for causing a false alarm, misusing, tampering with or damaging fire equipment or not evacuating during a fire alarm or drill.

Fire safety equipment is distributed differently depending on the type of housing area and occupants.  Below is a description of the fire safety equipment on campus along with the distribution of such equipment in Residential Life areas.

- Dormitories

Each University owned dormitory is equipped with fire extinguishers in common areas and hard-wired smoke alarms in each dorm room.  At least once a month these extinguishers and smoke alarms are inspected.  The extinguishers are inspected annually and provided routine maintenance, hydrostatic testing or recharging where needed. Each smoke alarm is cleaned annually, inspected and tested for operation.  Fire alarm systems are tested annually as well to assure all devices are working properly.

- Apartments

Each University-owned apartment building or complex is equipped with fire extinguishers in common areas and hard-wired smoke alarms in the sleeping areas.  Smoke alarms are also placed in hallways immediately adjacent to sleeping rooms.  The smoke alarms are tested once a month. Extinguishers are inspected annually and provided routine maintenance, hydrostatic testing or recharging when needed and each smoke alarm is cleaned, inspected and tested for operation.  It is the responsibility of the resident to notify HRC or their RA if there are problems with the smoke alarms or if the fire extinguisher has been discharged.  Fire alarm systems are tested annually to assure all devices are working properly.

- Small Group Housing

Each University-owned small group housing facility acts somewhat as a house.  This area usually contains a group of bedrooms combined with the normal features of a house, such as laundry area, kitchen, living room and dining room.  All bedrooms are equipped with a hard-wired smoke alarm.  These smoke alarms are tested monthly and cleaned annually.  It is the responsibility of the residents to notify HRC if smoke alarms are malfunctioning or if a fire extinguisher has been discharged.  Fire extinguishers are strategically placed in both first and second floor hallways and the kitchen.  These extinguishers are inspected, tested and maintained by EHS.  The fire alarm systems in these buildings are also tested annually to assure all devices are working properly.

(U) Training

- Emergency Evacuation

Emergency Evacuation training is offered at the EHS.  The Office of Emergency Preparedness may also assist in this training.  Emergency evacuation training focuses on the different types of emergencies and how to respond appropriately to each emergency.  The use of an Emergency Plan is also discussed.  Contact EHS at (205) 348-5905 to schedule this training.

- Proper Use of Fire Extinguishers

Training for the proper use of fire extinguishers is offered at the EHS.  This training focuses on the P.A.S.S. technique, the different types of fires, the different types of extinguishers, and allows each individual the opportunity to handle a fire extinguisher and discharge the fire extinguisher.  Contact EHS at (205) 348-5905 to schedule this training.

(V) Welding and Cutting

The Office of Environmental Health and Safety now requires a permit for any hot work be completed. This permit is available by contacting EHS and receiving approval from EHS prior to the work being started.  Areas where welding and cutting will occur should be free of combustibles and flammables and well vented. Welding should occur within the confines of an area designed for such work (fire resistant and segregated from adjacent areas and projects).  Whenever the work cannot be removed from the area, the area shall be made safe by removing flammables and combustibles (the floor should be clean for at least a radius of 35 feet).  Where there are cracks or holes in the walls or floor within 35 feet of the welding or cutting area, the holes or cracks should be covered to assure sparks do not pass through these areas.  Where welding or cutting will occur near walls, floors or ceiling, the area shall be protected by fire-resistant guards or shields.  Relocate combustibles from near metal walls, partitions or floors if welding will be done where the conduction of heat may ignite these combustibles.  If combustibles cannot be removed from the area, a fire watch may be necessary.  In this case a qualified individual or individuals (depending upon the size or amount and type of combustible) would have to remain in the area near the welding/cutting site and visually observe the combustibles and other surroundings for a period of time to ensure that a fire has not been the direct result of this welding or cutting.  Representatives from EHS can discuss with those responsible for the project who is considered to be a qualified individual when a fire watch will be necessary.  Do not perform cutting or welding on metal pipes that come in contact with combustibles if the work is close enough to cause a fire by conduction or in areas where there are flammable gases, vapors, dusts, liquids, or tanks containing flammable liquids.  No welding or cutting on drums, barrels or tanks is allowed unless it is known that there has not been any flammables or toxic materials contained in the drum, barrel or tank and the drum, barrel or tank has been cleaned and approved for such welding or cutting by EHS.  When welding or cutting, always have a fire extinguisher handy or know the location of the nearest fire extinguisher.  When the welding or cutting operation has been suspended, the equipment must be cut off.  Always schedule a checkup on the area welded or cut thirty minutes after the completion of the operation.  Welding shields, goggles or helmets are needed to protect the eyes and face during welding.  Contact EHS regarding further information on welding and personal protective equipment.

(W) Material Storage and Handling

Material may not be stored in corridors, aisles, stairwells, hallways or mechanical rooms.  Combustibles may not be stored in attics.  Materials may not be stored within 36 inches of any sprinkler deflectors, ceiling, light fixtures, ventilation grates, or fire alarm panel.  Refer to the Hazardous Material Management Guidelines for information on specific hazardous material storage.  Hot ashes, cinders, or coals may not be deposited in or near any building or grounds area on The University of Alabama campus.  These items may only be placed in noncombustible or metal receptacles so designated by The University of Alabama.  Any items stored outside must be stored in a neat and orderly manner with no storage exceeding ten feet in height or twenty feet in diameter.

(X) Fireworks

A permit must be attained prior to the use of fireworks on campus.  Contact EHS during the planning phase, at least one month prior to the scheduled event.  The permit must be sent to the State Fire Marshall with the signatures of both the Police Chief and the City of Tuscaloosa Fire Marshall.  A “no burn ordinance” overrides a fireworks permit.  Therefore, any time a “no burn ordinance” is in effect, the scheduled fireworks program will be cancelled.

(Y) Communication

The EHS is the liaison between The University of Alabama and regulatory compliance agencies.  Contact the EHS if you have any fire safety concerns or issues.  All press releases or comments shall be made through The University of Alabama Office of University Relations.

(Z) Fire Alarm Response

- Roles

  - The University of Alabama Office of Environmental Health and Safety

The University of Alabama Office of Environmental Health and Safety (EHS) acts as the liaison between The University of Alabama and the City of Tuscaloosa Fire Department.  EHS may assist with communication, fire alarm keys, and locations of suppression equipment or locations of activated fire alarm system equipment.  EHS may also assist with repair or replacement of a fire alarm system or component by notifying the fire alarm system technician.  During working hours, EHS responds to fire alarms on campus at the request of UAPD.

  - The City of Tuscaloosa Fire Department

Once a fire alarm system is activated the Tuscaloosa Fire Department (TFD) has authority of the area until the incident has been resolved.  A fire alarm can only be silenced or reset after the Fire Department gives consent to UAPD or the representative of EHS.

  - The University of Alabama Public Safety Department

The University of Alabama Public Safety (UAPD) also takes a very active role during fire alarms.  UAPD immediately responds to all fire alarms on campus.  They control the crowd by moving students, employees or other individuals away from the building where the alarm is sounding.  UAPD also assists in controlling traffic in heavy congested areas, assists building representatives to assure all building occupants are accounted for, provides communication to University of Alabama departments which the Fire Department might use as resources and overall assists the Fire Department as needed.

  - Building Representatives

Each building on campus has a building representative that is responsible for turning in work orders and having access to all areas of the building.  During a fire alarm, these building representatives may be questioned about certain areas of the building or access into areas as they have extensive knowledge of their spaces.

  - The University of Alabama Department of Facilities

During a fire alarm or other emergency The University of Alabama Department of Facilities may be asked to address areas of concern regarding the building and life safety as specified by the Tuscaloosa Fire Department or representatives from EHS.  The Facilities Department maintains all university-owned buildings on campus.

  - The University of Alabama Housing and Residential Life

During a fire alarm or other emergency, The University of Alabama Housing and Residential Life (HRC) area may be asked to address areas of concern regarding the building or life safety as specified by the Tuscaloosa Fire Department or representatives from EHS.  HRC may also be asked to find temporary housing for those students living in University-owned housing which are affected.

  - The University of Alabama Dean of Students or Office of Fraternity and Sorority Life

During an emergency situation where University student housing has been affected, the Dean of Students or Office of Student Life may be asked to assist in the process of finding temporary housing for those students affected.

  - Contractors

During a fire alarm or other emergency, contractors may be asked to respond to the situation at hand if it has occurred in a non-University owned building.  For this reason, it is important that The University of Alabama Public Safety Department (UAPD) have a listing of the responsible parties of buildings on campus.  It is also important that contractors understand their limitations and some guidelines have been set forth between the entity owning the building and those making repairs to the building.  Never assume that the University of Alabama Department of Public Safety has access to any non-University owned buildings or will allow contractors access to these areas.

- Safe Fire Alarm Evacuation Procedures

  - Procedures for Students, Professionals, Staff, and Guests

    - ACTIVATING THE FIRE ALARM

- If a fire is noticed, leave the hazard area.  Do not risk a life by remaining in the unsafe building.  If operating a heat source or flame, please extinguish before exiting the building.

- On the way out of the building, pull a fire alarm system pull station.  It may be necessary to break the glass or raise the pull station cover in order to pull the alarm.  Some common locations of pull stations are at stairwell doors and exits.

- By sounding the alarm, occupants of the building are notified of a fire hazard and should evacuate the building.  However, most importantly, The University of Alabama Public Safety Department (UAPD), Environmental Health and Safety (EHS), and the City of Tuscaloosa Fire Department are notified immediately of the hazard.

    - EVACUATING THE BUILDING

- When the fire alarm sounds, everyone must proceed with their emergency evacuation plan or evacuate the building immediately, even if another individual tells you that the fire alarm is being tested.  Do not assume it is just a drill.  Failure to evacuate the building during a fire alarm is grounds for required community service.

- When occupying a high rise building the alarm will sound for the floor of the alarm, the floor above, the floor below, in all stairwells and continues as alarms are activated. If needed the Tuscaloosa Fire Department has the ability to sound the alarm for the entire building.

- When evacuating, turn off any appliance or equipment you might be operating.  Isolate your area by closing doors and windows and leave the building.

- Only use a portable fire extinguisher to control a small fire or assist yourself or someone else to evacuate the area.  Remember, not all fire extinguishers are effective on all types of fires, so do not try to extinguish the fire unless you have been properly trained.  Do not fight the fire if it is already beginning to spread beyond the location where it started, if you can’t fight the fire with your back to an exit, or if the fire can block your only exit.

- Walk; do not run when evacuating the building.  Assist those individuals with disabilities or those unable to evacuate by telling authorities their locations within the building.  (See Safe Fire Alarm Evacuation Procedures for the Physically Challenged)

- To avoid smoke, stay low to the ground and cover your mouth and nose with a damp cloth if possible to help you breathe.

- Never use the elevators to evacuate.

- When evacuating, travel horizontally, moving away from the fire until you reach a safe distance away from the hazard or an exit or stairwell door.  Then travel vertically down the stairwell until you reach an exit leading to the outside.  Most stairwells are fire rated enclosures that can be used as areas of rescue assistance for those individuals needing assistance exiting the building.

- If you must open corridor doors, hallway doors, bedroom doors, or office doors, feel of them first by using the back of your hand (never the palm).  If they are cool, open them and continue to follow the emergency evacuation plan and move towards an exit or stairwell if conditions allow.

  - Procedures for Physically Challenged

Although The University of Alabama requires all occupants of a building to evacuate when the fire alarm is activated, individuals with disabilities may need assistance or special procedures to evacuate effectively.  For this reason, they should inform other individuals, especially housing coordinators or Residential Advisors that they may need assistance in a fire alarm during the emergency evacuation-planning phase.  Below are some tips that may prove useful during a fire alarm evacuation:

    - Utilize the Buddy System

- During the first few days at a new job or at classes, discuss with others your need for a “buddy” if the fire alarm goes off.

- Obtain several buddies in different locations where you may be during an alarm and discuss your evacuation plan with your buddies (especially housing coordinators or Residential Advisors).

- Explain what type of assistance you would need during a fire alarm.

- Plan and practice your procedure or evacuation during a fire alarm.

- If possible, your buddy should assure your location, capabilities and need for assistance during a fire alarm (however, do not risk life).

- Your buddy should inform UAPD or the Tuscaloosa Fire Department of your need for assistance, plan, and location during a fire alarm.

    - Recognize your Capabilities and Limitations for Evacuating the Building

- When evacuating, travel horizontally, moving away from the fire until you reach a safe distance away from the hazard or an exit or stairwell door.  Then travel vertically down the stairwell until you reach an exit leading to the outside.

- Most stairwells are fire rated enclosures that can be used as areas of rescue assistance for those individuals needing assistance exiting the building.

- Persons utilizing wheelchairs should be taken to an area of rescue assistance (usually stairwell landings) or stay where they are located.  This still requires their buddy notify UAPD or the Fire Department of their location once they reach the assembly location outside.  If the mobility-impaired individual is alone, he/she should dial 205-348-5454 or 911 and inform the dispatcher of his/her location, inability to evacuate and the area of rescue assistance where they are located or the area they are going to be located.

- Persons with mobility impairment but without need of a wheelchair, will need to attempt to evacuate the building, allowing traffic to pass when needed in areas like stairwells.  These individuals may decide to remain in place and contact 205-348-5454 or 911 with their location if there is no sign of imminent hazard and due to their impairment they would not be able to evacuate the building at this time without assistance.

- Persons with hearing impairments will need rooms equipped with strobe lights to inform them of activation of the fire alarm.  A buddy may still be needed to notify the individual with the hearing impairment of an emergency.  Notify EHS at (205) 348-5905 to request these lights in a certain room.

- Persons with visual impairments will need rooms equipped with horns or bells to inform them of activation of the fire alarm.  A buddy may still be needed to guide the visually impaired individual through the evacuation route.  If the visually impaired individual is alone, he/she should dial 205-348-5454 or 911 and inform the dispatcher of their location, inability to evacuate and the area of rescue assistance where they are located or the area where they are going to be located.  Notify EHS at (205) 348-5905 to request these bells in a certain room.

  - Procedures if Trapped in a Building Which is Burning

- If the door is hot, only open it slowly.

- If there is too much smoke or fire in the hallway for a safe evacuation, then remain in the room.  Close the door and position towels or articles of clothing (dampened if possible) around the bottom edge of the door.

- Call 205-348-5454 or 911 and tell the dispatcher your name, where you are located and the reason you could not evacuate.  The dispatcher will contact the UAPD officers on the scene who will notify the Fire Department.

- If you have a window that can be opened, also open the window and hang a sheet, piece of clothing or another similar object out the window and wave it to the fire department.  This open window will allow fresh air to circulate into the room.

- If the window cannot be opened, create a sign to display at the window indicating that you need help.

- If you feel as though you can no longer breathe, break the window out using a chair and wave an article of clothing or a similar object at the Fire Department.

- Remain calm and wait for the Fire Department to assist you in evacuating the area.

  - Procedures if You are on Fire

- Stop where you are.

- Drop to the floor.

- Roll until the flames have been smothered.

  - Procedures if Someone Else is on Fire

- Try to smother flames by wrapping the individual on fire in a blanket or some other item that could be used to smother flames.

- If unable to assist the individual on fire, insist that the person stop, drop and roll.

  - Once Outside

- Move away from the building to a predesignated location known as an “assembly point” where representatives from HRC or other building officials will begin accounting for those present.

- Notify UAPD of anyone needing assistance exiting the building.

- The HRC representative or building official should notify UAPD of anyone unaccounted for during the evacuation.  Let UAPD know as soon as it is determined that someone is not accounted for at the assembly location.

  - Resetting the Fire Alarm and Re-entering the Building

- Remain outside and away from the building until you are given further instructions from the TFD, UAPD or a representative from EHS.

- Only TFD can authorize the fire alarm system being reset or silenced after the initiation of a fire alarm.

- UAPD and the representative of EHS responding to the alarm have access to the fire alarm panel keys.

- UAPD and the representative from EHS are the only entities on campus authorized to reset a fire alarm once approved by TFD.

- Once the fire alarm system has been reset and TFD has given the approval for re-entering the building, then faculty, staff, students, guest or others reoccupy the area.

(AA) Investigations

- Fire Alarm

In the past there have been some confusing and/or conflicting opinions among faculty, staff and/or students regarding false fire alarms.  There are actually very few fire alarms initiated by faulty fire safety equipment, such as a smoke detector or heat detector that malfunctions.  In fact, most alarms are initiated due to the actions of those inside the building.  This does not mean that each alarm corresponds with an actual fire.  The alarm could correspond with someone who is smoking near a smoke detector, or an air conditioning unit that is overheating could be generating smoke.  For this reason, it is very important that people monitor their own habits closely and review fire safety data in a manner that considers the cause and the effect of the alarm rather than simply defining the alarm as being a true or false alarm.  EHS investigates each fire alarm on campus to determine the cause of the alarm and maintains this information in an active database.  In the event that a piece of faulty equipment initiated the fire alarm, EHS also monitors and assures the repair or replacement of this equipment to reduce unnecessary alarms resulting from these situations.  Contact EHS at (205) 348-5905 regarding any questions or concerns regarding fire alarms on campus.

- Arson

Many cases of fires on college campuses are directly linked to arson. Both UAPD and the TFD investigate cases of arson on The University of Alabama campus.  EHS also maintains information on fire alarms related to cases of arson on campus.  Contact (205) 348-5905 regarding any questions or concerns directly related to fire alarms attributed to cases of arson.

## APPENDIX A

#### UNDERSTANDING FIRE STATISTICS, FIRE LOGS AND FIRE SAFETY SYSTEM DESCRIPTIONS FOR ON-CAMPUS STUDENT HOUSING FACILITIES

Each year EHS assists UAPD in the completion of The University of Alabama Annual Campus Security and Fire Safety Report.  In addition to the report, Fire Statistics are provided for all On-Campus Student Housing Facilities, a description of the Fire Safety System for all On-Campus Student Housing Facilities and a Fire Log is maintained.  Each of these items may also be obtained from the EHS website at www.ehs.ua.edu/operations/fire-safety/.

In the fire statistics you will find all fires recorded by the building name and address.  Three years of statistics are included, with the most recent calendar year provided and the two most recent preceding years as well.  Each building listed provides the total number of fires occurring in the building during the calendar year, along with a breakout of each fire, cause of the fire, a brief explanation, the number of injuries that required medical treatment at a medical facility, the number of deaths related to the fire and the property value of damage caused by the fire.

The Fire Safety Systems Description of On-Campus Student Housing Facilities contains a listing of each building considered to be an on-campus student housing facility listed by name and address.  Each building then is compared to notate the presence of certain fire safety systems within the building.  For instance, each building notates whether there is a fire alarm system present, if it is monitored on site or by an outside monitoring company, if there is a sprinkler system present or if there is a standpipe present.  It continues by comparison of the presence of fire detection devices such as smoke detectors, heat detectors, duct detectors, etc., the presence of audio and/or visual equipment, the presence of stand-alone smoke alarms, the presence of fire extinguishers, if smoke control and fire reduction mechanisms are present, the presence of fire doors and/or fire walls and the presence of special fire extinguishing systems.  Additionally it outlines the number of fire evacuation fire drills planned each calendar year for the facility and whether there are evacuation plans or placards available.

The Fire Log for Fires in On-Campus Student Housing Facilities outlines the fires that have occurred in on-campus student housing facilities by listing each fire by the building name. A general location of the fire is listed along with the date the fire was reported, date and time of the actual fire, cause of the fire, a brief explanation of the fire, the number of injuries related to the fire, deaths associated with the fire and the amount of property damage associated with the fire.  This log is updated within two business days of the fire being reported and is available online at www.ehs.ua.edu/operations/fire-safety/ or within the EHS office during business hours.  UAPD also has a copy of the log for review as well.