**Satellite Accumulation Area (SAA)**

Satellite Accumulation areas (SAA) are approved by EHS for the temporary collection of hazardous waste. **A SAA is located within this lab/area. The following conditions apply.**

* Up to 55 gallons of non-acute hazardous waste may be accumulated and I quart of liquid acute waste or 1kg of solid acute waste.
* Containers must be in good condition, non-leaking and compatible with the contents.
* Containers must be kept closed except when adding contents.
* Containers must be labeled as Hazardous Waste, a description of the contents and the DOT waste characteristic.
* All persons working in the area must receive SAA management training.
* Contact EHS for a pickup prior to completely filling bulk containers.

**In the event of an emergency involving an SAA container:**

* Alert all others in the area.
* Evacuate if deemed necessary.
* Contact emergency responders UAPD (348-5454) and EHS (348-5905).
* Fire control equipment is present in the facility however evacuation is recommended rather than attempting firefighting measures.
* The SAA contingency plan protocols are available from EHS.

**Building: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Room: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ PI/Supervisor: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Emergency Contacts:**

**EHS (348-5905) UAPD (348-5454)**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**