STORMWATER MANAGEMENT PROGRAM

MUNICIPAL TYPE OERPATIONS

SOP For: Bulk Liquid Storage

SOP Prepared By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

SOOP Review and Update: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Purpose of SOP: Development of management procedures for storage of bulk liquids designed to prevent pollutants from entering the storm sewer system.

Location of SOP: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Standard Operating Procedures**

* The contents of a bulk liquid storage vessel should be clearly marked.
* Above ground, storage tanks (ASTs) should have secondary containment.
* All ASTs should be inspected quarterly for integrity, leaks, damage, etc.
* If secondary containment is equipped with drain valves, they should be in the closed position at all times.
* Any spills, leaks or discharges must be cleaned immediately.
* Bollards should be provided to prevent damage by vehicles.
* Storage vessels should not be located within 50 feet of a storm drain inlet.

**Training**

* All applicable employees should be trained regarding AST management.
* Employees should receive training regarding the principals of pollution prevention and stormwater management.