STORMWATER MANAGEMENT PROGRAM

MUNICIPAL TYPE OERPATIONS

SOP For: Underground Storage Tanks

SOP Prepared By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

SOOP Review and Update: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Purpose of SOP: Establish procedures for underground storage tanks (USTs) that will help to prevent the entry of pollutants into the storm sewer system.

Location of SOP: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Standard Operating Procedures**

* USTs should be equipped with an automatic leak detection and inventory system.
* Overfill protection devices shall be in place.
* If applicable corrosion protection shall be installed on the tank and piping.
* Only permitted haulers shall attempt to fill a UST with product.
* There shall be a Class A and B certified operator for each UST.
* Any leaks or spills must be remediated as soon as discovered.
* A UST response plan shall be developed and in place.

**Training**

* Appropriate personnel shall receive UST operator training.
* Employees should receive training regarding the principles of pollution prevention and stormwater management.